## DRAFT ENGINEERING EVALUATION

Tesoro Refining & Marketing Company LLC

Plant Nos. 14628

Application No. 31991_like_demo

This document is the Air District’s Engineering Evaluation Report for the Tesoro Refining & Marketing Company LLC application for an Authority to Construct for its Use Existing LPG Tanks S-646 and S-647 to Store Renewable Propane, Application No. 31991_like_demo.

# 1.0 - Background

Tesoro Refining & Marketing Company LLC has requested a Certificate of Exemption for two existing pressurized LPG tanks, S-646 and S-647, at Plant 14628. Under this project, the tanks would be available for storage of renewable propane associated with the facility's renewable fuels operations.

The project does not include installation of new tanks, an increase in tank size, or a change to refinery production capacity. Instead, the project is a change in how two existing vessels may be used within the broader renewable fuels configuration. The project description provided by the applicant states that renewable propane production will not increase as a result of this action.

The tanks are existing pressure vessels that have historically been outside the evaluated scope of the renewable fuels process. The project therefore requires the engineering evaluation to confirm that S-646 and S-647 continue to qualify for exemption and to determine whether existing permit condition language should be revised so the tanks may participate in renewable propane storage service.

Based on the project specification, the permit action is narrow in scope. It applies only to S-646 and S-647 and does not authorize new process equipment, additional throughput, or any physical modification that would reasonably be expected to increase emissions.

See July 11, 2022, Health Risk Assessment. An initial HRA was conducted on December 16, 2021 and updated on April 4, 2022. The April 4, 2022, update was conducted to include sulfuric acid mist emissions for S-1600 (via A-2000), which were inadvertently omitted in the initial health risk assessment. The inclusion of the sulfuric acid mist emissions did not increase the risk impacts because sulfuric acid mist is not a carcinogen and maximally impacted target organ groups for the hazard indices (chronic and acute) do not include sulfuric acid mist as a risk contributor. Therefore, the results of the December 16, 2021 HRA report are unchanged. During internal review of the permit application, additional sources have been identified with increases in TAC emissions and should have been included in the HRA. Those sources are S-1560, S-692, and S-819. Emissions from S-1560 are routed to the facility's fuel gas system and combusted at process heaters. Emissions from S-1560 are distributed to the emission points of each process heaters. In addition, there are also increases to one or more TAC pollutants for S-830, S-831, S-842, and S-1026; however, these sources are exempt from Regulation 2-5-401, Health Risk Assessment Requirements, per limited exemption 2-5-114 since the toxicity weighted emissions will not be increasing. Therefore S-830, S-831, S-842, and S-1026 are not included in the HRA. The health risk assessment was updated on July 11, 2022 to include emissions from S-1560, S-692, and S-819. The results of the July 11, 2022 HRA report supersede the previous versions dated December 16, 2021 and April 4, 2022.